## PCH
PUBLIC COMMENT HEARING VOTE - 2027 I-Codes
For those who are attending the Public Comment Hearing (PCH) in Hartford Connecticut on April 19-24th, here is a voting guide put together by the OBOA Codes Committee recommendations. The suggestions contained in this voting guide are the opinions of the OBOA Codes Committee members, and are being provided to you as recommendations only—“vote your conscience.” These are items we have identified as being significant, but there are many other items that will be heard and discussed at the hearing. We strongly encourage readers of this document to read the proposals, public comments, and reason statements, as well as listen to the testimony at the hearings to inform your voting. All hearing material and information is available via this link:
ICC PCH Sharepoint Documents
Eligible voters can cast votes at https://www.cdpaccess.com. The OGCV is expected to start on 1st or 2nd week of May, and will close two weeks after opening. Detailed rules about voting procedures and code development are found in ICC Council Policy #28 (CP 28).
|  |  |  | Vote Recomendations: | [8 empty] | Priority:
|  |  |  | A = Approve | [8 empty] | H = High priority
|  |  |  | AMC = As Modified by Committee | [8 empty] | M = Medium priority
|  |  |  | AMPC = As Modified by Public Comment | [8 empty] | L = Low priority
D = Disapprove
Proposal # | Code | Section | Topic | Subject Summary | CAH#2 Result | AMC | Consent Agenda? | PCH Result | Presented Code Change Proposal OGCV | Required Vote To Pass | OBOA Recommendation | OBOA Priority | Rationale
E24-24 | IBC | 1006.3.4, 1006.3.5 (New), 1006.3.5.1 (New) thru 1006.3.5.6 (New), 1023.12, 1031.2 |  | Revision to allow single exit for Group R-2 occupancies that comply with new section 1006.3.5 requirements. | AMC2 | Revised to allow single exit stair for four-story Group R-2 building, with maximum 4 dwelling units, maximum exit access travel distance, and net floor area limitation per floor. Manual fire alarm and automatic smoke detection system required, along with NFPA 13 sprinkler requirements for combustible stairways for the interior exit stairways regardless of construction type. | No |  |  |  | Watch
E73-24 | IBC | 1011.7.2 | Stairs | Add markings (stripe on leading edge) on all commercial stairs. | AMC2 | Modification adds clarity by moving the revisions to the correct sections (marking stripes on treads, and marking stripes on landing). | No |  |  |  | D |  | Added requirement is not necessary. Fiscal impacts, cost of construction would be increased.
E86-24 | IBC | 1014.1 | Handrail | Adds clarification about when intermediate handrails are required. | None - D |  | No |  |  |  | Support Public Comments |  | There is a public comment that will modify the proposal to 88-inches from 60-inches. Committee in support of public comment.
E117-24 | IBC | 1105.1 | Accessibility - Public Entrances | Reduce R-2/R-3/R-4 to only one accessible entrance. | None - AS |  | No |  |  |  | Support Public Comments |  | There are two public comments that should be supported
FS2-24 | IBC | 703.2.1.3 | Fire Resistant Rating | Add language to exempt concrete girders beams slabs etc. from restrained members that need to be specifically identified as restrianed | None - AS |  | No |  |  |  | Watch
FS6-24 | IBC | 703.3.1, 703.3.2 (New) | Fire Resistant Rating | Add language to not require inherant materials like steel and concrete to be tested for non-combustibility. | AMC2 | Rewritten to list out the following materials not requiring testing, rather than identifying them as "inherently" noncombustible. | No |  |  |  | AMC2
FS10-24 | IBC | 704.5.1 | Fire Resistant Rating | Added langauge gives prescritptive guidelines for when secondary members should be protected. | None - D |  | No |  |  |  | D
FS35-24 | IBC | 711.2.4.7 IBC | Floor and roof assemblies | Fire protection requirements between a top story and occupied roofs. Specifically skylights and penetrations | None - D |  | No |  |  |  | D |  | See if there is a public comment that would make it better?
FS53-24 | IBC | 715.3 | Joints and voids | Add an exception for when a joint is not required at the bottom plate of a wall | AMC2 | Modified added exception to indicate where the connection at the bottom of the wall is not designed for movement. | No |  |  |  | Watch
FS55-24 | IBC | 715.3, 715.4 | Joints and voids | Clarification on the location of the intersection of exterior curtain wall assembliesand the roof slab/deck intersection | None - AMC1 | The word "interior" added to section 715.4 to indicate the prevention of interior spread of fire. | No |  |  |  | D
FS61-24 | IBC | TABLE 716.1(2) | Opening protectives | Add footnote for glazing not exceeding a size notes in the table and sending thereader to the applicable code when the glazing size is exceeded | None - AS |  | No |  |  |  | Watch
FS62-24 | IBC | TABLE 716.1(2), 716.2.5.4 | Opening protectives | Increase the requirements of certain glazing found in table 716.1(2) | None - D |  | No |  |  |  | Watch
S4-24 | IBC | (NEW) 1705.17 | Special Inspections | Added new section for special inspections of board and wrap fire resistive material. New standard ASTM WK 70807 is referenced. New standard is waiting for approval. | None - D |  | No |  |  |  | D
F108-24 | IFC |  | Batteries | Sprinklers for storage of lithium ion vehicles exceeding 500 ft² storage area | None - D |  | No |  |  |  | D
F110-24 | IFC |  | Bathroom coverings - sprinklers | NFSA bathroom covering - clean up and correlates with NFPA 13 | None - D |  | No |  |  |  | Watch
F199-24 | IFC |  | Temporary structures | Cross reference to IBC chapter 31 for temporary membrance structures. | AMC2 | Comment to address committee feedback, with references now pointing to the specific applicable sections of chapter 31 of the IBC. | No |  |  |  | Watch
F231-24 | IFC |  | Pet boarding | Revisions to add pet boarding requirements. | AMC2 | Revision to pet boarding definition and scope to classify as Group B or M occupancies to remove loophole from classifying it as S or F as some view it as possibly "pet storage" operations. | No |  |  |  | D
M22-24 | IMC | 401.1, 401.2, SECTION 403, 403.1, 403.3, 403.3.1, 403.3.2, 403.3.2.1, 403.3.2.2, 403.3.2.3, TABLE 403.3.2.3 | Mechanical Ventilation | Add requirements for dwelling unit ventilation | AMC2 | Modification to align with other code change proposals; M8-24 (corridor-served units outside air), M14-24 (multi-unit private garages), M30-24 (IECC balanced ventilation in cold climates). | No |  |  |  | Watch
P30-24 | IPC | 405.3.4 (New), 405.3.4, 405.3.5, CHAPTER 15, IAPMO Chapter 15 (New) | Water closet & Urinal Privacy | Mandatory privacy standards for water closets and urinal partitions in separate gender toilet rooms; all-gender toilet rooms; public and employee toilet rooms. | AMC2 | Clarification to the fire testing requirements for premanufactured water closet and urinal partitions that is ambiguous in the IAPMO standard. | No |  |  |  | Watch
ADM1-24 | IFGC | 101.2.2.1, 107.1, 301.2 | Gaseous hydrogen systems | This change is to include systems delivering hydrogen admixtures to appliances and equip. to conform with gas requirements. | AMC2 | The modification is an editorial change to ensure the new subsection is within the scope of the IFGC. The change is needed to incorporate coverage of hydrogen admixtures by definition. | Yes
E70-24 | IBC | 1011.7.1, 1012.7.0 | Stairs, Ramps | Add section to require fire rated supporting construction | None - D | N/A | Yes
E123-24 | IBC | 1108.6.2 | R-2/R-1 accessible units | Short-term rental units that are used as both R-1 and R-2. | None - D |  | Yes |  |  |  | D
FS7-24 | IBC | 703.7 | Fire Resistant Rating | Language added to address sealing of joints only at areas that have not already been addressed at joint systems for mass timber elements. There are some exceptions added too. | AMC2 | Modification to clarify requirements when a fire-resistant joint system is used and when it is not used. Two separate subsections created. | Yes
FS9-24 | IBC | 704.5 (New), 704.5, 704.5.1, 704.5.2 (New), | Fire Resistant Rating | Added language for attachment of siding to structural members for fire rated construction | AMC2 | Simplified to reference starter strips and utility trim. | Yes
FS14-24 | IBC | 705.6, 705.6.1 (New) | Exterior Walls | Clean up language on continuity of fire rated exterior walls. Added language for supporting construction | AMC2 | Removed added language for supporting construction as FS16-24 was approved with a new section 705.8 for supporting construction. | Yes
FS15-24 | IBC | 705.7.1 | Exterior Walls | Added types I-V and V construction for supporting floor rating of exterior walls. | AMC2 | Revised to delete limitation on types of construction. Deletes "Types III, IV, and V construction" and makes requirement applicable to all types of construction. | Yes
FS16-24 | IBC | 705.7.1, 705.8 | Exterior Walls | Adds section for supporting construction to 705, and points to fire-resistance rating requirements of 704.1.1. | AMC2 | Revised the language to expand the original proposal from exterior walls to include parapets as well. | Yes
FS17-24 | IBC | 705.7.2 | Exterior Walls | Roof assembly supporting a parapet to be rated same as wall | AMC2 | Revised to delete limitation on types of construction. Deletes "Types III, IV, and V construction" and makes requirement applicable to all types of construction. | Yes
FS23-24 | IBC | 706.3 | Fire walls | The reasoning that treated wood is allowed in type III exterior walls, it should be allowed in fire walls construction 602.3 allows treated wood in exterior walls rated 2 hrs or less. Fire walls can be up to 4 hour rated- exterior walls and firewalls are not the same function. | None - D |  | Yes
FS24-24 | IBC | 706.5 | Fire walls | Add language to allow fire walls to terminate at non-combustible material and fire treated lumber is NOT THE SAME AS NON-COMBUSTIBLE CONSTRUCTION? | None - D |  | Yes
FS26-24 | IBC | 707.3, 707.3.12 | Fire barrier | Added language for fire barriers for energy system rooms | AMC2 | Added reference to the fire code. | Yes
FS36-24 | IBC | 712.1.9 exception 4 and 5 | Vertical Openings | Exception speclls out the corridor requirements which has been detailed in other code sections and is redundancy | None - D |  | Yes
FS56-24 | IBC | 715.4, 715.5 | Joints and voids | Language to reomve the exception for exterior curtain wall containment for parking structure due to communication through several floors | None - D |  | Yes
G8-24 pt I | IBC | 202 | Definitions | "Floor Area, Gross" "Floor Area, Net" | AMC2 | Revised to clarify shafts and courts are included in gross but excluded from net. | Yes
S9-24 | IBC | 202 (NEW DEF); 2510.6 | Gyp products | Created new definitions for Stucco Bond Break, Drainage Plane, and Drainage Space. Rewrote and eliminated subsections to 2510.6 to incorporate those sections into table form. | AMC2 | Proponents work with stakeholders to resolve differences between two similar proposals S9-24 and S8-24. | Yes
F40-24 | IFC |  | Valet trash | This proposal moves valet trash from annex to chapter 3 | None - D |  | Yes
F44-24 | IFC |  | Vaping | Add vaping to smoking requirements | AMC2 | Editorial change to not add vaping in every section referencing smoking but rather clarify in the charging section. | Yes
F72-24 | IFC |  | Fire access | Single fire lane and other apparatus access rewrite | None - D |  | Yes
F100-24 | IFC |  | 13D | Revises Section 903.2.8 to simply require sprinklers for Group R fire ares to be installed per 903.3.1. Revised 903.3.1 to clarify where NFPA 13D systems are allowed. | AMC2 | Further clean up that helps to address attic protection requirements. | Yes
F102-24 | IFC |  | 13D | Addresses 13D in up to 60 ft | None - D |  | Yes
F103-24 | IFC |  | 13D | Seattle 13D four story | None - D |  | Yes
F198-24 | IFC |  | Temporary structures | Revision to remove the words "air-supported structures" from Section 105.5.51 to requie all temporary membrane structures to obtain an operational permit and not just air-supported structures. | AMC2 | Clarification to ensure that air-supported structures are included and considered as a type of temporary membrane structure. | Yes
F203-24 | IFC |  | Temporary structures | Revision to add entertainment-related equipment to special event structure. | None - D |  | Yes
G195-25 pt II | IRC-B | R301.1.5 | Modules and Modular Components | Added reference to ICC standards for off-site construction for planning, design, fabrication; inspections; and MEP, energy and water. | AMC2 | Modification adds reference to the special inspections and testing requirements of chapter 17. | No |  |  |  | Watch
S52-25 | IBC-S | New 1604.1.1 | Delegated Design | Adds new subsection to address review requirements for delegated design items. | AMC2 | Added reference to indicate that delegated design items that are also deferred submittals shall meed deferred submittal requirements. | Yes
S63-25 | IBC-S | 1604.5.2; 1604.5.3 (New) | Energy Storage Systems | Added language to address the risk category assignment for energy storage systems. | None - D |  | No |  |  |  | Watch
EB20-25 | IBC-S | 304.3.2 | SFR Seismic Upgrade Std | Added language to the reduced seismic criteria to allow the use of ICC 1300 standard for seismic retrofit of one- and two- family dwellings. | AMC2 | Added language to clarify that retrofiting is "in accordance with…" the new reference standard. | Yes
EB21-25 | IEBC | 306.6.1.1, 306.7.12, 306.7.16, 306.7.18.2 | Additions for elevators | Revised language to provision for additions and where elevator for accessible means of egress is not required and revised language to change accessible "floor" to "story" and from "occupied" to "occupiable" roof. | AMC2 | Changed from "floor or occupied roof" to "level". | Yes
EB78-25 | IEBC | 106.2.3, 601.2, 603.1, 604.1, 901.2 | MOE on construction docs | Revision to change terms alterations level 2, 3 to new definition "reconfigured spaces". | None - D |  | No |  |  |  | Watch
EB79-25 | IEBC | 602.1, 603.1, 604.1, 801.3, 901.1, 901.2 | Level 1 alterations | Added language to clarify the classification of work that would be included with level 1 alteration. | None - D |  | No |  |  |  | Watch
EB99-25 | IEBC | 1011.2.1 | Automatic sprinkler systems | Added exception #4 to exempt the need for sprinklers for care facilities done out of the IRC and change of occupancy to R-4. | None - D |  | No |  |  |  | Watch / D
EB101-25 | IEBC | 1011.2.1 | Automatic sprinkler systems | Adds exception item to automatic sprinkler system requirements for change of occupancy to facilitate adaptive reuse of existing buildings no more that 4 stories and 12,000 sf gross per story. | AMC2 | Expands upon exception requirements including occupancy types allowed along with consideration of smoke detection systems. (Two modifications approved EB101-25-1 & EB101-25-2) | Yes
EB116-25 | IEBC | 1201.6 | Historical Occupancies | Added provision for historical occupancies. | None - D |  | Yes
EB132-25 | IEBC | 1204.6.1 | Single exit buildings | Allowance to have single exit building for historic buildings undergoing change of use to R-2 up to 5 stories; less than 3000 sf per floor; Type IV construction. | None - D |  | Yes
RB35-25 | IRC-B | R317 (new section) | Occupiable Roofs | Added provisions for occupiable roofs. | AMC2 | Amendment to limit occupiable roof to serve an individual dwelling unit and not extend to adjacent units. | No |  |  |  | Watch
RB39-25 | IRC-B | Section 202 | Townhouse unit | Propose addition to the definition of a townhouse unit to only for one side open to yard or public way where sprinkler system is provided. | None - D |  | Yes
RB42-25 | IRC-B | R301.1.1 | Small residential units | Add section to reference ICC design standard for small homes (1200 sf or less). | None - D |  | No |  |  |  | Watch
RB63-25 | IRC-B | R302.2 Townhouses | Fire-resistant construction | Add prescriptive assemblies for 1-hr and 2-hr from the IBC. | AMC2 | Clean-up to account for committee comments. | No |  |  |  | Watch
RB104-25 | IRC-B | R313 Ceiling Height | Ceiling Height | Rewrite of ceiling height section to lay out requirements for habitable rooms, sanitation rooms, and storage utility. | AMC2 | Committee concern from CAH 1 was with changes to definition. Modification brings back original definition. | No |  |  |  | Support
RB108-25 | IRC-B | R316.3 | Habitable attics | Revision to exception item #4, to require fire sprinkler system for habitable attics above a third story. | AMC2 | Clean-up to address terminology to use the term "story above grade plane". | No |  |  |  | Watch
RB121-25 | IRC-B | R318.7.5.1 | Risers | Restores riser and tread depths to those of prior code additions. | None - AS |  | No
RB139-25 | IRC-B | R325.9 | Temperature control | Proposal to require cooling. | None - D |  | Yes
RB144-25 | IRC-B | R330.1 | Energy Storage Systems | Add to section to require ESS with aggregate capacity of 1 kWh or greater to comply with NFPA 855. | None - AS |  | Yes
RB146-25 | IRC-B | R330.8 | Energy Storage Systems | Revision to clarify the where impact protection for ESS is necessary. | None - D |  | Yes
RB148-25 | IRC-B | R401.4.1 | Geotech Eval | Removes the ability to assume the soil classification. | None - D |  | Yes
RB174-25 | IRC-B | R506.3.3 | Vapor Retarder | Proposal to revise to 10 mil vapor retarder. | None - D |  | No
RB194-25 | IRC-B | R602.10.2.2.1 | BWP Location | OBOA Codes Committee proposal to clarify the requirements of R602.10.2.2.1. New figure created to clarify BWP location requirements. | AMC2 | Revised language and figure to address clarity issues from public comment. | Yes
RB222-25 | IRC-B | R703.8.4, R703.8.4.2 | Weather protection | New table to clarify weather protection requirements for exterior plaster. | AMC2 | Clarifying modification to reference the determination of moisture regime to stay within the IRC and not referencing the IECC. | Yes